## Sheet1
Building Energy Specification Table (BEST) | [5 empty] | Community / site |  |  |  | BEST no.
1.1 | Building Category |  |  |  |  | total area / category / BEST sheet [2] |  |  | m2
[1]
1.2 | Local Climate |  |  |  |  | January average outside temperature |  | oC
[6 empty] | August average outside temperature |  | oC
| Climatic Zone |  |  |  |  | Average global horizontal radiation |  | kWh/m2 yr
| (national definition) |  |  |  |  | Annual heating degree days [3] |  | oCd/yr
1.3 | Maximum requirements of building fabric |  |  |  |  | Existing building [5] | National regulation for new built [6] | suggested specification [7] |  | Energy savings [%] [8]
| Façade/wall |  | U |  | W / m2K
| Roof |  | U |  | W / m2K
| Ground floor |  | U |  | W / m2K
| Glazing |  | Ug |  | W / m2K
| Average U-value |  | Uav |  | W / m2K
| Glazing |  | g |  | total solar energy transmittance of glazing [%]
| Shading |  | Fs |  | Shading correction factor
| Ventilation rate | [4] |  |  | air changes/hr
2 | Building Energy Performance
2.1 | Energy demand per m2 of total used conditioned floor area (kWh / m2yr) incl. system losses
energy carrier existing building | suggested energy carrier |  |  |  | specify energy efficiency measures [13] | Existing building [5] | National regulation / normal practice for new built (2006) [6]* | suggested specification [7] |  | % Energy savings [8]
Heating + ventilation
kWh/m2yr
Cooling + ventilation
kWh/m2yr
Ventilation (if separate from heating/cooling)
kWh/m2yr
Lighting
| electricity |  | kWh/m2yr
Domestic Hot Water (DHW)
kWh/m2yr
Other energy demand
kWh/m2yr
|  |  | kWh/m2yr |  | Subtotal sum of energy demand | 0 | 0 | 0
Appliances (please indicate, but costs are not eligible)
| electricity |  | kWh/m2yr
2.2 | RES contribution per m2 of total used conditioned area (kWh / m2 yr)
total production kWh/yr | m2 installed |  | kW installed |  | specify RES measures | Existing building [5] | National regulation / normal practice for new built (2006) [6]* | suggested specification [7] |  | RES contribution [%][8]
|  |  | kWh/m2yr |  | Subtotal sum of RES contribution | 0 | 0 | 0
3 | Building Energy Use |  |  |  |  | per m2 of total used/heated floor area (kWh/m2 yr)
|  |  | kWh/m2yr |  | Subtotal sum of energy demand | 0 | 0 | 0
|  |  | kWh/m2yr |  | Subtotal sum of RES contribution | 0 | 0 | 0
|  |  | kWh/m2yr |  | Total Building Energy Use | 0 | 0 | 0
4 | Other national overall energy performance targets or criteria (additional information, mandatory if existing)
|  |  | Units [9] |  | explain content and scale [10] | Existing building | National regulation for new built (2006)* | suggested specification
EXPLANATIONS ON THE Building Energy Specification Table (BEST) Each different type/category of building requires 1 separate BEST sheet, which should be kept on 1 page only. Each BEST sheet is numbered (right upper corner). This number identifies this building category in the CDS form and all information given in this line in the CDS refers to this building type only. The BEST is divided in 4 parts: Part 1 provides: 1.1 information on the building category with the total area to be realised for this category during the duration of the project 1.2 information on the local climate 1.3 specifications of building elements Part 2 provides: 2.1 information on the energy performance of the buildings of this category, split in the different sectors of energy demand. The energy demand is final energy (not primary energy) expressed as kWh/m2yr of total gross used conditioned floor area and includes all system losses. Passive renewable energy sources are taken into account, f.e. solar gains, but the effects of active renewable energy sources, f.e. solar collectors, PV, heat pumps, biomass, etc. must not be deducted in this part. 2.2 If relevant, information on the RES contribution for this building category only. Part 3 provides information on the building energy use by deducting the contribution through RES from the energy demand defined under point 2. Part 4 asks for information on other additional national indicators for energy performance of buildings. Although other national indicators may exist, part 1-3 of BEST is expected to be completed. Guidance information on how to complete the BEST following the numbers in [x]. [1] give the total conditioned gross area of this building category to be realised during the duration of the project . For the building category, select between ‘residential retrofitted’, “tertiary retrofitted”, or “other”. [2] if others is selected in the field above, name the type of building [3] heating degree days should be calculated for a base temperature of 16oC [4] the ventilation rate includes infiltration and ventilation needs by use [5] provide information on the existing building, such as properties of its elements, its actual energy consumption and contribution through already existing RES elements (if any) [6] information given in the national regulations for new buildings. [7] detailed specifications for the proposed building [8] for the calculation of energy savings and RES contribution, only column [6] and [7] should be used. Here the energy savings through the refurbishment interventions are measured against a newly built replacement building. [9] indicate the units for other national energy performance indicators and [10] describe the range of these indicators
Note on F19: willbga: g is the total solar transmittance of the glazing taking into account of permanent solar protection devices, if any

## Sheet2
residential retrofitted
tertiary retrofitted
other